## Slide 1
Deryck James and Melvin Felton
Atmospheric Sensing Branch
Computational and Information Sciences Directorate
24 06 2019
Introduction to Doppler Lidar Technology
Approved for public release

## Slide 2: lidar
-acronym that stands for LIght Detection And Ranging
-transmits laser light towards a target
-Some of this light is reflected/scattered back to the lidar where it
is detected and analyzed
-When the transmitted light interacts with a target, sometimes
properties of the light are changed in some way, depending on
the molecular composition of the target and its motion.
-It’s the change in the properties of the light that makes it possible
for the lidars to be used to determine properties of the target.
-The range, or distance, to the target is determined from
knowledge of the speed of light and how long it takes the light to
travel the round trip distance between the lidar and target.

## Slide 3: Lidar—comparison with radar
-to understand more about how lidars work and the differences between lidars
and radars, let’s first consider the electromagnetic spectrum:

## Slide 4: Doppler lidar
-There are many different types of lidars. Our focus will be on
coherent Doppler lidar, which we have used to conduct research
over the last 17 years.
-Doppler lidar is similar to Doppler radar which you might be
familiar with from their use by meteorologist on the news.
-In general, Doppler lidars measure the velocity of a target using
the Doppler Effect.

## Slide 5: Doppler Lidar—the Doppler effect
-Examples of the Doppler Effect:
-You encounter the Doppler Effect when
you hear emergency vehicle sirens
travelling in the street
-The Doppler Effect is how we know that
the universe is expanding

## Slide 6: Doppler lidar—sensing the winds
-The Doppler shift occurs when the light transmitted from the lidar hits a target moving
towards or away from the lidar, the wavelength of the light reflected/scattered off the
target will be changed slightly.
-If the target is moving away from the lidar, the return light will have a longer wavelength
(referred to as a red shift)
-if moving towards the lidar the return light will be at a shorter wavelength
(referred to as a blue shift)
-For Doppler lidars used to study the wind, the targets are in the atmosphere—
microscopic dust and aerosol particles that are carried by the wind
-these targets are of interest because they are small and light enough to move at the
true wind velocity and therefore, they make it possible for a remote measurement of the
wind velocity to be made.

## Slide 7: Doppler lidar—wind sensing (cont’d)
In most commercially available Doppler lidar systems:
-A short pulse of light is generated and emitted into the atmosphere
-These systems tend to operate in the near-IR (1.5 microns) region of the
electromagnetic spectrum which tunes them to be sensitive to backscatter from
micron-sized aerosols which are plentiful throughout the troposphere
-As this pulse travels away from the lidar, aerosol particles and molecules reflect some
light back to the lidar
-These returned pulses are recorded temporally and analysis is performed to compute the speed and range of the reflecting particle.

## Slide 8: Doppler lidar—wind sensing (cont’d)
Coherent detection:
-requires the mixing of the captured backscattered light with a copy of the original
emitted pulse.
-This allows for the determination of the frequency difference between the backscattered
Doppler shifted light and the emitted light.
-This frequency difference is directly proportional to the speed of the wind along the line
of sight of the lidar.
-spectra of non-Doppler-shifted
return signal and spectra of
Doppler-shifted return signal

## Slide 9: Doppler lidar—system design
-Doppler lidars also tend to be monostatic, meaning that from one location, they transmit
and receive data (light pulses)

## Slide 10: Doppler Lidar—system design
-The location of a measurement taken by a pulsed monostatic lidar is determined by knowledge
of the laser pointing direction (i.e. the scanner), and of the time delay between the firing of the laser
pulse and the detection of the signal
-Some Doppler lidars have full upper-hemispheric scanning capability, which enables 3D mapping
of turbulent flows in the atmospheric boundary layer
-Others systems have partial scanning capabilities; these systems are capable of measuring a
much reduced volume of the atmosphere but still provide useful range-resolved wind data
Partial scanning system

## Slide 11: Doppler lidar—scan types

## Slide 12: Doppler lidar—scan types (cont’d)

## Slide 13: Doppler lidar—scan types (cont’d)

## Slide 14: Doppler lidar—scan types (cont’d)

## Slide 15: Doppler Lidar—vertical profiles

## Slide 16: Doppler lidar—data format

## Slide 17: Doppler lidar—data format (cont’d)
Vertical profile data:

## Slide 18: Things to Look for in the data—turbulence
-Turbulence is the up-and-down (vertical) air currents that help
to mix the air in the lower atmosphere.
-Turbulence tends to occur:
-during the daytime when heating of the sun causes
convective mixing of the air
-within thunder storms
-in the form of wind shear near the jet stream (clashing
weather systems)
-as a result of complex topography, such as downtown
city buildings or multiple mountains near to each other

## Slide 19: Things to look for in the data—turbulence (cont’d)

## Slide 20: Things to look for in the data—turbulence (cont’d)
Directional shear example

## Slide 21: Things to look for in the data—turbulence (cont’d)
Speed shear example

## Slide 22: Things to look for in the data—turbulence (cont’d)
Horizontal and vertical speed shear example